## Unused Domains
Domain
AnnotationStatus
AP_Category_Configure
Validation Error Status
BooleanSymbolValue
HorizontalAlignment
Validation Error Phase
Pipeline_Line_Pipe_Test_Type
VerticalAlignment

## Domain Field Lengths
Table | Field | Column Length | Domain Code Length
P_LineValveInspection | manufacturer | 50 | 13
P_RegulatorInspect | manufacturer | 50 | 19
P_ReliefValveInspection | manufacturer | 50 | 13
P_StrainerInspect | strainermanufacturer | 50 | 15
P_StrainerInspect | controllinemanufacturer | 50 | 7
StructureLine | material | 2 | 3
PipelineLine | material | 2 | 3
PipelineAssembly | pipegrade | 2 | 3
PipelineJunction | materialspecification | 50 | 9
P_Anomaly | anomalytype | 50 | 18
P_CouldAffectSegment | intersectiontype | 50 | 9
P_CouldAffectSegment | couldaffectsegmenttype | 50 | 18
P_ILIGroundRefMarkers | markertype | 50 | 13
P_IdentifiedIssue | issue | 50 | 15
P_MAOPCalcRange | pressureestablishedby | 50 | 17
P_MAOPCalcRange | documentmaturityindex | 50 | 7
P_OperatingPressureRange | pressuretype | 50 | 17

## Emtpy Domains
Domain Name
AP_Category_Configure

## Domain Description Duplicates
Domain | Description | Codes

## Inconsistent Field Aliases
Field Name | Aliases
SUBNETWORKNAME | Subnetwork name, Supported subnetwork name
NAME | Trace configuration name, Name
ASSOCIATEDOBJECTSRCID | Association source ID, Associated source ID
ASSOCIATEDOBJECTGUID | Association global ID, Associated global ID
creationdate | Creation date, creationdate
creator | Creator, creator
lastupdate | Last update, lastupdate
updatedby | Updated by, updatedby
TERMINALCONFIGURATION | Terminal path, Terminal Path
CPSubnetworkName | CPSubnetworkName, CP Subnetwork Name
SystemSubnetworkName | SystemSubnetworkName, System Subnetwork Name, System Zone Subnetwork Name
PressureSubnetworkName | PressureSubnetworkName, Pressure Zone Subnetwork Name
IsolationSubnetworkName | IsolationSubnetworkName, Isolation Zone Subnetwork Name
pson | PS On, PSON
updmdevice_globalid | UPDMDevice GlobalID, CPRectifier GlobalID
centerlineid | CenterLineIDGUID, Centerline ID, CenterlineID
comments | Comments, COMMENTS
gasleak_globalid | GasLeak GlobalID, GasLeak_GlobalID
valvetype | Valve Type, Relief Valve Type
pressureunits | Pressure Units, Set Pressure Units
manufacturerlotno | Manufacturer Lot#, Manufacturer Lot #
manufacturecomponent | Manufacturer Component, Manufacture Component
material | Material, material: Material, Pipe Grade
workorderid | Work Order ID, Work OrderID
legacyid | Legacy ID, LegacyID
eventid | Event ID, EventID
refmethod | Reference Method, To Reference Method
reflocation | Reference Location, To Reference Location
refoffset | Reference Offset, To Reference Offset
measuredlength | Measured Length, Length
wallthickness | Wall Thickness, Pipe Wall Thickness
designtype | Type, Design Type
diameter | Diameter, Pipe Diameter
wallthickness2 | Wall Thickness 2, Wall Thickness2
bprcalculatedaverage | Average BPR Calculated, BPR Calculated Average
bprpigaverage | BPR Pig Average, BPR PIG Average
bprvarianceaverage | BPR Pig Average, BPR Variance Average
depthaverage | Average Depth, Depth Average
lengthaverage | Average Length, Length Average
widthaverage | Average Width, Width Average
maxdiameteraverage | Average Max Diameter, Max Diameter Average
mindiameteraverage | Average Min Diameter, Min Diameter Average
orientationaverage | Average Orientation, Orientation Average
rprcalculatedaverage | Average Calculated RPR, RPR Calculated Average
rprvarianceaverage | Average Variance RPR, RPR Variance Average
inspectionrange_globalid | InspectionRange GlobalID, Inspection Range GlobalID
type | Type, Other Populated Type
discoverydate | Discovery Date, Discovery Place
startodo | Start ODO, Start Odometer
endodo | End ODO, End Odometer
surveytype | ILI Survey Type, Survey Type
installationdate | Installation Date, Install Date

## Inconsistent Field Values
Field Name | Issue
FROMTERMINALID | Field has same name/alias but inconsistent types: Long Integer, Short Integer
TOTERMINALID | Field has same name/alias but inconsistent types: Long Integer, Short Integer
STATUS | Field has same name/alias but inconsistent types: Long Integer, Short Integer
SUBNETWORKCONTROLLERNAME | Field has same name/alias but inconsistent default values: , Unknown
TIERRANK | Field has same name/alias but inconsistent types: Short Integer, Long Integer
TIERRANK | Field has same name/alias but inconsistent default values: , 0
TIERNAME | Field has same name/alias but inconsistent types: Text, Long Integer
TIERNAME | Field has same name/alias but inconsistent default values: , 0
TIERNAME | Field has same name/alias but inconsistent domains: , Network_5_TierName
SUBNETWORKNAME | Field has same name/alias but inconsistent default values: , Unknown
shorted | Field has same name/alias but inconsistent default values: , 0
surfacetype | Field has same name/alias but inconsistent domains: Pipeline_Surface_Type,
gasin | Field has same name/alias but inconsistent domains: Pipeline_Leak_Inspect_Gas_In,
methoddetected | Field has same name/alias but inconsistent domains: Pipeline_Leak_Method_Detected,
gasmeasurementunits | Field has same name/alias but inconsistent domains: Pipeline_Measurement_Units,
manufacturer | Field has same name/alias but inconsistent domains: Pipeline_Valve_Manufacturer, Pipeline_Regulator_Manufacturer,
manufacturemodel | Field has same name/alias but inconsistent domains: Pipeline_Valve_Model, Pipeline_Regulator_Model
quantity | Field has same name/alias but inconsistent types: Long Integer, Short Integer, Double
pressureunits | Field has same name/alias but inconsistent default values: 231,
pressureunits | Field has same name/alias but inconsistent domains: Units_for_Pressure,
pressurerating | Field has same name/alias but inconsistent types: Long Integer, Short Integer, Double
pressurerating | Field has same name/alias but inconsistent default values: , 0
pressurerating | Field has same name/alias but inconsistent domains: , Yes_No
maxinletpressure | Field has same name/alias but inconsistent types: Long Integer, Double
atmoscorrosion | Field has same name/alias but inconsistent domains: Pipeline_Pass_Fail_Status, Yes_No
accessible | Field has same name/alias but inconsistent default values: 0, 1
lifecyclestatus | Field has same name/alias but inconsistent domains: Lifecycle_Combined, Lifecycle_Status
material | Field has same name/alias but inconsistent types: Text, Long Integer
material | Field has same name/alias but inconsistent domains: , Pipeline_ASTM_Transmission_Pipe_Material, Pipeline_ASTM_Material, Pipeline_Service_Summary_Pipe_Material
spatialaccuracy | Field has same name/alias but inconsistent domains: , Spatial_Accuracy
lengthsource | Field has same name/alias but inconsistent domains: , Pipeline_Length_Source
wallthickness | Field has same name/alias but inconsistent domains: Pipeline_Pipe_Wall_Thickness-Transmission,
diameterunits | Field has same name/alias but inconsistent domains: Units_for_Diameter,
lengthunits | Field has same name/alias but inconsistent domains: , Units_for_Diameter, Units_for_Length
regulatorytype | Field has same name/alias but inconsistent default values: 0,
regulatorytype | Field has same name/alias but inconsistent domains: Pipeline_Regulatory_Type,
piggable | Field has same name/alias but inconsistent domains: Yes_No, , Lifecycle_Status
maopdesign | Field has same name/alias but inconsistent default values: 0,
maopdesign | Field has same name/alias but inconsistent domains: Pipeline_Pressure_Range,
maoptest | Field has same name/alias but inconsistent default values: 0,
maoptest | Field has same name/alias but inconsistent domains: Pipeline_Pressure_Range,
maoprecord | Field has same name/alias but inconsistent default values: 0,
maoprecord | Field has same name/alias but inconsistent domains: Pipeline_Pressure_Range,
diameter | Field has same name/alias but inconsistent domains: , Pipeline_Pipe_Diameter-Services
duration | Field has same name/alias but inconsistent types: Long Integer, Double
depthunits | Field has same name/alias but inconsistent default values: , 2
depthunits | Field has same name/alias but inconsistent domains: , Units_for_Depth
status | Field has same name/alias but inconsistent default values: Active,
status | Field has same name/alias but inconsistent domains: Pipeline_Object_Status,
damagetype | Field has same name/alias but inconsistent domains: Pipeline_Excav_Dam_Damage_Type, Pipeline_Excav_Damage_Type
markertype | Field has same name/alias but inconsistent types: Text, Short Integer
markertype | Field has same name/alias but inconsistent domains: Pipeline_ILI_Survey_Marker_Type, Pipeline_Marker_Markertype
widthunits | Field has same name/alias but inconsistent domains: Units_for_Diameter,
identifiedsitetype | Field has same name/alias but inconsistent domains: Pipeline_Identified_Site_Outside,

## Field Domain Type Mismatch
Table Name | Subtype | Field Name | Domain | Field Type | Domain Type
PipelineJunctionObject | -1 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineJunctionObject | 0 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
UN_5_DirtyAreas | -1 | SOURCEID | Network_5_FeatureSourceID | Long Integer | Short Integer
PipelineDevice | -1 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 0 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 1 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 2 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 3 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 4 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 5 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 6 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 8 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 9 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 10 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 11 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 12 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 13 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 18 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 19 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 20 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 50 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 51 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 52 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 53 | TIERNAME | Network_5_TierName | Long Integer | Short Integer
PipelineDevice | 54 | TIERNAME | Network_5_TierName | Long Integer | Short Integer

## Deleted Domain Usage
Table Name | Subtype | Field Name | Domain

## Missing Spatial Indexes
Table Name | Extra Information

## Invalid Default Values
Table Name | Subtype | Field Name | Domain | Default Value